[image: image1.jpg]il

g

Project No.: 60.720.6.317.01

Model: m{

Product: Hi-Powered Hearing Enhancer
Licensee: Alford Industries Limited
Address: 4/F & 16/F Long To Building
654-656 Castle Peak Road
Kowloon
Hong Kong
Importer: Nil

Importer's Brand Nil
Name/ Model:

Testing of the above-mentioned product was performed and the product
complies with the EMC requirements defined in the following standards:

EN 50081 -1 : 1992
EN 55022/ A1: 1995
EN 50082-1: 1992

Remarks:

The tests results apply only to the particular sample tested and to the
specific tests carried out. It is the manufacturer's responsibility to ensure
that additional production units of this model are manufactured with
identical electrical and mechanical characteristics.

The CE marking as shown below can be affixed on the product after

preparation of necessary conformity documentation, as stipulated in Article
10 of the Council Directive 89/336/EEC and its amendments.

Hong Kong, January 6, 1997

Testing Laboratory:

S
Dr. Ken Mok
EMC Laboratory Manager

TUV Product Service Asia Ltd.

Unit 603, 6/F., H.K. Industrial Technology Centre

72, Tat Chee Avenue, Kowloon Tong, Hong Kong

A subsidiary of TUV Product Service GmbH, Germany





