C220100 =  ST-100 C220200 = ST-200 C220300 = ST-300 C220500 = ST-500 C220750 = ST-750 C2201K = ST-1000 C2201500 = ST-1500 C2202K = ST-2000 C2203K = ST-3000 C2204K = ST-4000 C2205KN = ST-5000 C22010K = ST-10000

        [image: image1.jpg]|EFRE

China Ceprei ( Sichuan) Compliance Lab.

CERTIFICATE OF CONFORMITY

CERTIFICATE OF CONFORMITY is hereby issued to cerify the following equipment

Certificate Holder: NINGBO JINYUAN(G.S)ELECTRICITY CO., LTD.
Address: No.485 Xinjian (N.) Road Yuyao City, Ningbo, China

Manufacturer: NINGBO JINYUAN(G.S)ELECTRICITY CO., LTD.
Address: No.485 Xinjian (N.) Road Yuyao City, Ningbo, China

Certification Marking: c E

Product Type: Step- Up & Down Transformer

Product Model: - ST-100, ST-200, ST-300, ST-500, ST-750, ST-1000,
ST-1500, ST-2000, ST-3000, ST-4000, ST-5000
STU-100, STU-200, STU-300, STU-500, STU-750,
STU-1000, STU-1500, STU-2000, STU-3000, STU-4000,
STU-5000

Parameters: Input Voltage: 110/200/220/240V AC
Output Voltage: 110/220 V AC
Output Rated Frequency: 50Hz/ 60Hz
Output Rated Power: 100VA, 200VA, 300VA, 500VA,
750VA, 1000VA, 1500VA, 2000VA, 3000VA, 4000VA,
5000VA

Certificate Number:  E2 03104514
Test Report Number: 252336258
Date of Issue: January 6, 2012
Complied with the requirements set out by the Council

Directive 2006/95/EC (Low Voltage Directive). The
following standards were applied

61558-1:2005+A1:2009
61558-2-13:2009

(ESTCEPRY| &
N

Title:_Engineer Manager

Tel: 800-886-7323 Fax; 0086-28-8440 0379 www.westceprei.com




