[image: image1.jpg]Tel: 0755-26503290
F1, Bldg. A, Changyuan New Material Port, Keyuan Rd. Fax: 0755-26503396
Science & Industry Park, Nanshan, Shenzhen, Guangdong, P.R. China E-mail: webmaster@atc-lab.com

Declaration of Compliance

NO.: ATE2004459
The following products have been tested by us with the listed standards and found in compliance
with the council EMC directive 89/336/EEC. It is possible to use CE marking to demonstrate the
compliance with this EMC Directive.

Submitter :  DIANXING ELECTRICAL APPLIANCE INDUSTRY
CO.LTD

Address : Anle Development Zone, Dongfeng, Zhongshan
Guangdong, China

Product : UNINTERRUPTIBLE POWER SYSTEM

M/N : UPS-3000SF UPS-3000HB

Test Standards:

EN50091-2: 1995 Specification for Uninterruptable power systems (UPS)
Part 2. EMC requirements

EN61000-3-2: 2000 Electromagnetic ~ Compatibility (EMC) — Part 3.
Limits—Section 2. Limits for harmonic current emissions

(equipment input current<< 16A per phase)

EN61000-3-3: 1995 + A1: 2001 Electromagnetic Compatibility (EMC) — Part 3:
Limits—Section 3. Limitation of voltage fluctuations and

flicker in low-voltage supply systems for equipment with

rated current<X 16A

Mavtnbh,

(Manager)
Date: Sep 17, 2004
The certificate is based on a single evaluation of one sample of above-mentioned products. It does
not imply an assessment of the whole production and does not permit the use of the test lab. logo.





